## Merchant Summary
contract | configuration | grid_level | PV_capacity_MW | Wind_capacity_MW | RES_capacity_MW | BESS_power_MW | BESS_energy_MWh | Grid_connection_MW | RES_generation_MWh | Grid_export_MWh | Grid_import_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP | Revenue_per_MWh_RES_GBP | Revenue_per_MWh_export_GBP
Merchant | BESS | 100% | 0 | 0 | 0 | 100 | 400 | 100 | 0 | 42079.75 | 46625.7618 | 0 | 0 | 0 |  |  |  | 4.79% | 46625.7618 | 42079.75 | 88705.5118 | 105.1994 | 1594460.6836 |  | 37.8914
Merchant | PV | 60% | 160 | 0 | 160 | 0 | 0 | 96 | 150750.4 | 144072.8 | 0 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 17.09% | 0 | 0 | 0 |  | 9974513.656 | 66.1658 | 69.2325
Merchant | PV | 70% | 160 | 0 | 160 | 0 | 0 | 112 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 14.65% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
Merchant | PV | 80% | 160 | 0 | 160 | 0 | 0 | 128 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 12.82% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
Merchant | PV | 90% | 160 | 0 | 160 | 0 | 0 | 144 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 11.4% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
Merchant | PV | 100% | 160 | 0 | 160 | 0 | 0 | 160 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 10.26% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
Merchant | PV_BESS | 60% | 160 | 0 | 160 | 100 | 400 | 96 | 150750.4 | 146867.6925 | 0 | 0.16 | 1828.3368 | 1828.4968 | 0.00010614 | 1.2128 | 1.2129 | 17.42% | 21068.8275 | 19014.6168 | 40083.4443 | 47.5365 | 10699515.7617 | 70.975 | 72.8514
Merchant | PV_BESS | 70% | 160 | 0 | 160 | 100 | 400 | 112 | 150750.4 | 146834.7636 | 0 | 6.3949e-14 | 1828.4968 | 1828.4968 | 4.242e-17 | 1.2129 | 1.2129 | 14.93% | 21406.56 | 19319.4204 | 40725.9804 | 48.2986 | 10713476.6491 | 71.0676 | 72.9628
Merchant | PV_BESS | 80% | 160 | 0 | 160 | 100 | 400 | 128 | 150750.4 | 146829.1113 | 0 | 7.1054e-15 | 1828.4968 | 1828.4968 | 4.7134e-18 | 1.2129 | 1.2129 | 13.06% | 21464.5323 | 19371.7404 | 40836.2727 | 48.4294 | 10714538.1051 | 71.0747 | 72.9728
Merchant | PV_BESS | 90% | 160 | 0 | 160 | 100 | 400 | 144 | 150750.4 | 146827.3827 | 0 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 11.61% | 21482.2608 | 19387.7404 | 40870.0012 | 48.4694 | 10714749.6427 | 71.0761 | 72.9751
Merchant | PV_BESS | 100% | 160 | 0 | 160 | 100 | 400 | 160 | 150750.4 | 146826.7259 | 0 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 10.45% | 21488.9977 | 19393.8204 | 40882.8181 | 48.4846 | 10714849.9368 | 71.0768 | 72.9762
Merchant | PV_Wind | 60% | 160 | 130 | 290 | 0 | 0 | 174 | 559590.8328 | 536434.4866 | 0 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 35.1% | 0 | 0 | 0 |  | 36522363.1625 | 65.2662 | 68.0835
Merchant | PV_Wind | 70% | 160 | 130 | 290 | 0 | 0 | 203 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 30.08% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
Merchant | PV_Wind | 80% | 160 | 130 | 290 | 0 | 0 | 232 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 26.32% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
Merchant | PV_Wind | 90% | 160 | 130 | 290 | 0 | 0 | 261 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 23.4% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
Merchant | PV_Wind | 100% | 160 | 130 | 290 | 0 | 0 | 290 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 21.06% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
Merchant | PV_Wind_BESS | 60% | 160 | 130 | 290 | 100 | 400 | 174 | 559590.8328 | 540656.5997 | 0 | 49.7966 | 14798.0817 | 14847.8783 | 0.0088987 | 2.6444 | 2.6533 | 35.37% | 41911.3316 | 37824.9768 | 79736.3084 | 94.5624 | 37925626.1604 | 67.7739 | 70.1473
Merchant | PV_Wind_BESS | 70% | 160 | 130 | 290 | 100 | 400 | 203 | 559590.8328 | 540571.555 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 30.32% | 42783.5844 | 38612.1849 | 81395.7693 | 96.5305 | 37947480.2924 | 67.8129 | 70.1988
Merchant | PV_Wind_BESS | 80% | 160 | 130 | 290 | 100 | 400 | 232 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 26.53% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
Merchant | PV_Wind_BESS | 90% | 160 | 130 | 290 | 100 | 400 | 261 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 23.58% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
Merchant | PV_Wind_BESS | 100% | 160 | 130 | 290 | 100 | 400 | 290 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 21.22% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
Merchant | Wind | 60% | 0 | 130 | 130 | 0 | 0 | 78 | 408840.4328 | 373142.4791 | 0 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 54.46% | 0 | 0 | 0 |  | 25587734.0855 | 62.5861 | 68.5736
Merchant | Wind | 70% | 0 | 130 | 130 | 0 | 0 | 91 | 408840.4328 | 383983.997 | 0 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 48.04% | 0 | 0 | 0 |  | 26144855.6502 | 63.9488 | 68.0884
Merchant | Wind | 80% | 0 | 130 | 130 | 0 | 0 | 104 | 408840.4328 | 389554.1342 | 0 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 42.64% | 0 | 0 | 0 |  | 26417359.4994 | 64.6153 | 67.8143
Merchant | Wind | 90% | 0 | 130 | 130 | 0 | 0 | 117 | 408840.4328 | 391919.3031 | 0 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 38.13% | 0 | 0 | 0 |  | 26525029.6153 | 64.8787 | 67.6798
Merchant | Wind | 100% | 0 | 130 | 130 | 0 | 0 | 130 | 408840.4328 | 392269.4586 | 0 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 34.35% | 0 | 0 | 0 |  | 26541017.4644 | 64.9178 | 67.6602
Merchant | Wind_BESS | 60% | 0 | 130 | 130 | 100 | 400 | 78 | 408840.4328 | 381947.8278 | 0 | 14615.0449 | 9749.2443 | 24364.2892 | 3.5748 | 2.3846 | 5.9594 | 55.75% | 25931.4432 | 23403.1275 | 49334.5707 | 58.5078 | 26689118.3973 | 65.28 | 69.8763
Merchant | Wind_BESS | 70% | 0 | 130 | 130 | 100 | 400 | 91 | 408840.4328 | 390868.1359 | 0 | 5706.8191 | 9543.222 | 15250.0411 | 1.3959 | 2.3342 | 3.7301 | 48.9% | 27920.5724 | 25198.3165 | 53118.8889 | 62.9958 | 27279324.4511 | 66.7236 | 69.7916
Merchant | Wind_BESS | 80% | 0 | 130 | 130 | 100 | 400 | 104 | 408840.4328 | 395091.2339 | 0 | 1391.7514 | 9377.4112 | 10769.1625 | 0.34041 | 2.2937 | 2.6341 | 43.25% | 30564.4754 | 27584.439 | 58148.9144 | 68.9611 | 27608315.5506 | 67.5283 | 69.8783
Merchant | Wind_BESS | 90% | 0 | 130 | 130 | 100 | 400 | 117 | 408840.4328 | 396391.3617 | 0 | 76.3629 | 9134.3408 | 9210.7037 | 0.018678 | 2.2342 | 2.2529 | 38.57% | 33214.0242 | 29975.6568 | 63189.681 | 74.9391 | 27765708.7273 | 67.9133 | 70.0462
Merchant | Wind_BESS | 100% | 0 | 130 | 130 | 100 | 400 | 130 | 408840.4328 | 396569.3414 | 0 | 2.3803e-13 | 8795.4249 | 8795.4249 | 5.8221e-17 | 2.1513 | 2.1513 | 34.73% | 35647.8609 | 32172.1944 | 67820.0553 | 80.4305 | 27825822.9554 | 68.0604 | 70.1663

## PPA Summary
contract | configuration | grid_level | PV_capacity_MW | Wind_capacity_MW | RES_capacity_MW | BESS_power_MW | BESS_energy_MWh | Grid_connection_MW | RES_generation_MWh | Grid_export_MWh | Grid_import_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP | Revenue_per_MWh_RES_GBP | Revenue_per_MWh_export_GBP
PPA | PV | 60% | 160 | 0 | 160 | 0 | 0 | 96 | 150750.4 | 150643.04 | 0 | 107.36 | 0 | 107.36 | 0.071217 | 0 | 0.071217 | 17.86% | 0 | 0 | 0 |  | 12986936.4784 | 86.1486 | 86.21
PPA | PV | 70% | 160 | 0 | 160 | 0 | 0 | 112 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
PPA | PV | 80% | 160 | 0 | 160 | 0 | 0 | 128 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
PPA | PV | 90% | 160 | 0 | 160 | 0 | 0 | 144 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
PPA | PV | 100% | 160 | 0 | 160 | 0 | 0 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
PPA | PV_BESS | 60% | 160 | 0 | 160 | 100 | 400 | 96 | 150750.4 | 150739.9324 | 0 | 7.1054e-15 | 0 | 7.1054e-15 | 4.7134e-18 | 0 | 4.7134e-18 | 17.88% | 107.36 | 96.8924 | 204.2524 | 0.24223 | 12991142.5775 | 86.1765 | 86.1825
PPA | PV_BESS | 70% | 160 | 0 | 160 | 100 | 400 | 112 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
PPA | PV_BESS | 80% | 160 | 0 | 160 | 100 | 400 | 128 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
PPA | PV_BESS | 90% | 160 | 0 | 160 | 100 | 400 | 144 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
PPA | PV_BESS | 100% | 160 | 0 | 160 | 100 | 400 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
PPA | PV_Wind | 60% | 160 | 130 | 290 | 0 | 0 | 174 | 559590.8328 | 559447.3408 | 0 | 143.4919 | 0 | 143.4919 | 0.025642 | 0 | 0.025642 | 36.6% | 0 | 0 | 0 |  | 48229955.2538 | 86.1879 | 86.21
PPA | PV_Wind | 70% | 160 | 130 | 290 | 0 | 0 | 203 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind | 80% | 160 | 130 | 290 | 0 | 0 | 232 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind | 90% | 160 | 130 | 290 | 0 | 0 | 261 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind | 100% | 160 | 130 | 290 | 0 | 0 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind_BESS | 60% | 160 | 130 | 290 | 100 | 400 | 174 | 559590.8328 | 559576.8423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.61% | 143.4919 | 129.5015 | 272.9934 | 0.32375 | 48235576.9129 | 86.1979 | 86.2001
PPA | PV_Wind_BESS | 70% | 160 | 130 | 290 | 100 | 400 | 203 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind_BESS | 80% | 160 | 130 | 290 | 100 | 400 | 232 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind_BESS | 90% | 160 | 130 | 290 | 100 | 400 | 261 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
PPA | PV_Wind_BESS | 100% | 160 | 130 | 290 | 100 | 400 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
PPA | Wind | 60% | 0 | 130 | 130 | 0 | 0 | 78 | 408840.4328 | 386899.0356 | 0 | 21941.3971 | 0 | 21941.3971 | 5.3667 | 0 | 5.3667 | 56.47% | 0 | 0 | 0 |  | 33354565.8625 | 81.5833 | 86.21
PPA | Wind | 70% | 0 | 130 | 130 | 0 | 0 | 91 | 408840.4328 | 399187.0212 | 0 | 9653.4116 | 0 | 9653.4116 | 2.3612 | 0 | 2.3612 | 49.94% | 0 | 0 | 0 |  | 34413913.0994 | 84.1744 | 86.21
PPA | Wind | 80% | 0 | 130 | 130 | 0 | 0 | 104 | 408840.4328 | 405662.64 | 0 | 3177.7928 | 0 | 3177.7928 | 0.77727 | 0 | 0.77727 | 44.41% | 0 | 0 | 0 |  | 34972176.1927 | 85.5399 | 86.21
PPA | Wind | 90% | 0 | 130 | 130 | 0 | 0 | 117 | 408840.4328 | 408467.1912 | 0 | 373.2416 | 0 | 373.2416 | 0.091293 | 0 | 0.091293 | 39.74% | 0 | 0 | 0 |  | 35213956.5542 | 86.1313 | 86.21
PPA | Wind | 100% | 0 | 130 | 130 | 0 | 0 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 0 | 0 |  | 35246133.71 | 86.21 | 86.21
PPA | Wind_BESS | 60% | 0 | 130 | 130 | 100 | 400 | 78 | 408840.4328 | 395381.6114 | 0 | 12542.4212 | 2.1316e-14 | 12542.4212 | 3.0678 | 5.2138e-18 | 3.0678 | 57.71% | 9398.9759 | 8482.5758 | 17881.5517 | 21.2064 | 33722794.4772 | 82.484 | 85.2918
PPA | Wind_BESS | 70% | 0 | 130 | 130 | 100 | 400 | 91 | 408840.4328 | 404029.1205 | 0 | 4288.2046 | 2.1316e-14 | 4288.2046 | 1.0489 | 5.2138e-18 | 1.0489 | 50.55% | 5365.2069 | 4842.0992 | 10207.3061 | 12.1052 | 34624108.6273 | 84.6886 | 85.6971
PPA | Wind_BESS | 80% | 0 | 130 | 130 | 100 | 400 | 104 | 408840.4328 | 408038.8052 | 0 | 544.9228 | 7.1054e-15 | 544.9228 | 0.13328 | 1.7379e-18 | 0.13328 | 44.67% | 2632.87 | 2376.1652 | 5009.0352 | 5.9404 | 35075325.5235 | 85.7922 | 85.9608
PPA | Wind_BESS | 90% | 0 | 130 | 130 | 100 | 400 | 117 | 408840.4328 | 408804.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.78% | 373.2416 | 336.8505 | 710.0921 | 0.84213 | 35228579.2352 | 86.1671 | 86.1747
PPA | Wind_BESS | 100% | 0 | 130 | 130 | 100 | 400 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 0 | 0 | 0 | 35246133.71 | 86.21 | 86.21

## All Scenarios
contract | configuration | grid_level | PV_capacity_MW | Wind_capacity_MW | RES_capacity_MW | BESS_power_MW | BESS_energy_MWh | Grid_connection_MW | RES_generation_MWh | Grid_export_MWh | Grid_import_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP | Revenue_per_MWh_RES_GBP | Revenue_per_MWh_export_GBP
Merchant | BESS | 100% | 0 | 0 | 0 | 100 | 400 | 100 | 0 | 42079.75 | 46625.7618 | 0 | 0 | 0 |  |  |  | 4.79% | 46625.7618 | 42079.75 | 88705.5118 | 105.1994 | 1594460.6836 |  | 37.8914
Merchant | PV | 60% | 160 | 0 | 160 | 0 | 0 | 96 | 150750.4 | 144072.8 | 0 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 17.09% | 0 | 0 | 0 |  | 9974513.656 | 66.1658 | 69.2325
PPA | PV | 60% | 160 | 0 | 160 | 0 | 0 | 96 | 150750.4 | 150643.04 | 0 | 107.36 | 0 | 107.36 | 0.071217 | 0 | 0.071217 | 17.86% | 0 | 0 | 0 |  | 12986936.4784 | 86.1486 | 86.21
Merchant | PV | 70% | 160 | 0 | 160 | 0 | 0 | 112 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 14.65% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 70% | 160 | 0 | 160 | 0 | 0 | 112 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
Merchant | PV | 80% | 160 | 0 | 160 | 0 | 0 | 128 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 12.82% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 80% | 160 | 0 | 160 | 0 | 0 | 128 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
Merchant | PV | 90% | 160 | 0 | 160 | 0 | 0 | 144 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 11.4% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 90% | 160 | 0 | 160 | 0 | 0 | 144 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
Merchant | PV | 100% | 160 | 0 | 160 | 0 | 0 | 160 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 10.26% | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 100% | 160 | 0 | 160 | 0 | 0 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 0 | 0 |  | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 60% | 160 | 0 | 160 | 100 | 400 | 96 | 150750.4 | 146867.6925 | 0 | 0.16 | 1828.3368 | 1828.4968 | 0.00010614 | 1.2128 | 1.2129 | 17.42% | 21068.8275 | 19014.6168 | 40083.4443 | 47.5365 | 10699515.7617 | 70.975 | 72.8514
PPA | PV_BESS | 60% | 160 | 0 | 160 | 100 | 400 | 96 | 150750.4 | 150739.9324 | 0 | 7.1054e-15 | 0 | 7.1054e-15 | 4.7134e-18 | 0 | 4.7134e-18 | 17.88% | 107.36 | 96.8924 | 204.2524 | 0.24223 | 12991142.5775 | 86.1765 | 86.1825
Merchant | PV_BESS | 70% | 160 | 0 | 160 | 100 | 400 | 112 | 150750.4 | 146834.7636 | 0 | 6.3949e-14 | 1828.4968 | 1828.4968 | 4.242e-17 | 1.2129 | 1.2129 | 14.93% | 21406.56 | 19319.4204 | 40725.9804 | 48.2986 | 10713476.6491 | 71.0676 | 72.9628
PPA | PV_BESS | 70% | 160 | 0 | 160 | 100 | 400 | 112 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 80% | 160 | 0 | 160 | 100 | 400 | 128 | 150750.4 | 146829.1113 | 0 | 7.1054e-15 | 1828.4968 | 1828.4968 | 4.7134e-18 | 1.2129 | 1.2129 | 13.06% | 21464.5323 | 19371.7404 | 40836.2727 | 48.4294 | 10714538.1051 | 71.0747 | 72.9728
PPA | PV_BESS | 80% | 160 | 0 | 160 | 100 | 400 | 128 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 90% | 160 | 0 | 160 | 100 | 400 | 144 | 150750.4 | 146827.3827 | 0 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 11.61% | 21482.2608 | 19387.7404 | 40870.0012 | 48.4694 | 10714749.6427 | 71.0761 | 72.9751
PPA | PV_BESS | 90% | 160 | 0 | 160 | 100 | 400 | 144 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 100% | 160 | 0 | 160 | 100 | 400 | 160 | 150750.4 | 146826.7259 | 0 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 10.45% | 21488.9977 | 19393.8204 | 40882.8181 | 48.4846 | 10714849.9368 | 71.0768 | 72.9762
PPA | PV_BESS | 100% | 160 | 0 | 160 | 100 | 400 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 0 | 0 | 0 | 12996191.984 | 86.21 | 86.21
Merchant | PV_Wind | 60% | 160 | 130 | 290 | 0 | 0 | 174 | 559590.8328 | 536434.4866 | 0 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 35.1% | 0 | 0 | 0 |  | 36522363.1625 | 65.2662 | 68.0835
PPA | PV_Wind | 60% | 160 | 130 | 290 | 0 | 0 | 174 | 559590.8328 | 559447.3408 | 0 | 143.4919 | 0 | 143.4919 | 0.025642 | 0 | 0.025642 | 36.6% | 0 | 0 | 0 |  | 48229955.2538 | 86.1879 | 86.21
Merchant | PV_Wind | 70% | 160 | 130 | 290 | 0 | 0 | 203 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 30.08% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 70% | 160 | 130 | 290 | 0 | 0 | 203 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 80% | 160 | 130 | 290 | 0 | 0 | 232 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 26.32% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 80% | 160 | 130 | 290 | 0 | 0 | 232 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 90% | 160 | 130 | 290 | 0 | 0 | 261 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 23.4% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 90% | 160 | 130 | 290 | 0 | 0 | 261 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 100% | 160 | 130 | 290 | 0 | 0 | 290 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 21.06% | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 100% | 160 | 130 | 290 | 0 | 0 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 0 | 0 |  | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 60% | 160 | 130 | 290 | 100 | 400 | 174 | 559590.8328 | 540656.5997 | 0 | 49.7966 | 14798.0817 | 14847.8783 | 0.0088987 | 2.6444 | 2.6533 | 35.37% | 41911.3316 | 37824.9768 | 79736.3084 | 94.5624 | 37925626.1604 | 67.7739 | 70.1473
PPA | PV_Wind_BESS | 60% | 160 | 130 | 290 | 100 | 400 | 174 | 559590.8328 | 559576.8423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.61% | 143.4919 | 129.5015 | 272.9934 | 0.32375 | 48235576.9129 | 86.1979 | 86.2001
Merchant | PV_Wind_BESS | 70% | 160 | 130 | 290 | 100 | 400 | 203 | 559590.8328 | 540571.555 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 30.32% | 42783.5844 | 38612.1849 | 81395.7693 | 96.5305 | 37947480.2924 | 67.8129 | 70.1988
PPA | PV_Wind_BESS | 70% | 160 | 130 | 290 | 100 | 400 | 203 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 80% | 160 | 130 | 290 | 100 | 400 | 232 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 26.53% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 80% | 160 | 130 | 290 | 100 | 400 | 232 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 90% | 160 | 130 | 290 | 100 | 400 | 261 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 23.58% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 90% | 160 | 130 | 290 | 100 | 400 | 261 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 100% | 160 | 130 | 290 | 100 | 400 | 290 | 559590.8328 | 540551.2048 | 0 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 21.22% | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 100% | 160 | 130 | 290 | 100 | 400 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 0 | 0 | 0 | 48242325.694 | 86.21 | 86.21
Merchant | Wind | 60% | 0 | 130 | 130 | 0 | 0 | 78 | 408840.4328 | 373142.4791 | 0 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 54.46% | 0 | 0 | 0 |  | 25587734.0855 | 62.5861 | 68.5736
PPA | Wind | 60% | 0 | 130 | 130 | 0 | 0 | 78 | 408840.4328 | 386899.0356 | 0 | 21941.3971 | 0 | 21941.3971 | 5.3667 | 0 | 5.3667 | 56.47% | 0 | 0 | 0 |  | 33354565.8625 | 81.5833 | 86.21
Merchant | Wind | 70% | 0 | 130 | 130 | 0 | 0 | 91 | 408840.4328 | 383983.997 | 0 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 48.04% | 0 | 0 | 0 |  | 26144855.6502 | 63.9488 | 68.0884
PPA | Wind | 70% | 0 | 130 | 130 | 0 | 0 | 91 | 408840.4328 | 399187.0212 | 0 | 9653.4116 | 0 | 9653.4116 | 2.3612 | 0 | 2.3612 | 49.94% | 0 | 0 | 0 |  | 34413913.0994 | 84.1744 | 86.21
Merchant | Wind | 80% | 0 | 130 | 130 | 0 | 0 | 104 | 408840.4328 | 389554.1342 | 0 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 42.64% | 0 | 0 | 0 |  | 26417359.4994 | 64.6153 | 67.8143
PPA | Wind | 80% | 0 | 130 | 130 | 0 | 0 | 104 | 408840.4328 | 405662.64 | 0 | 3177.7928 | 0 | 3177.7928 | 0.77727 | 0 | 0.77727 | 44.41% | 0 | 0 | 0 |  | 34972176.1927 | 85.5399 | 86.21
Merchant | Wind | 90% | 0 | 130 | 130 | 0 | 0 | 117 | 408840.4328 | 391919.3031 | 0 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 38.13% | 0 | 0 | 0 |  | 26525029.6153 | 64.8787 | 67.6798
PPA | Wind | 90% | 0 | 130 | 130 | 0 | 0 | 117 | 408840.4328 | 408467.1912 | 0 | 373.2416 | 0 | 373.2416 | 0.091293 | 0 | 0.091293 | 39.74% | 0 | 0 | 0 |  | 35213956.5542 | 86.1313 | 86.21
Merchant | Wind | 100% | 0 | 130 | 130 | 0 | 0 | 130 | 408840.4328 | 392269.4586 | 0 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 34.35% | 0 | 0 | 0 |  | 26541017.4644 | 64.9178 | 67.6602
PPA | Wind | 100% | 0 | 130 | 130 | 0 | 0 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 0 | 0 |  | 35246133.71 | 86.21 | 86.21
Merchant | Wind_BESS | 60% | 0 | 130 | 130 | 100 | 400 | 78 | 408840.4328 | 381947.8278 | 0 | 14615.0449 | 9749.2443 | 24364.2892 | 3.5748 | 2.3846 | 5.9594 | 55.75% | 25931.4432 | 23403.1275 | 49334.5707 | 58.5078 | 26689118.3973 | 65.28 | 69.8763
PPA | Wind_BESS | 60% | 0 | 130 | 130 | 100 | 400 | 78 | 408840.4328 | 395381.6114 | 0 | 12542.4212 | 2.1316e-14 | 12542.4212 | 3.0678 | 5.2138e-18 | 3.0678 | 57.71% | 9398.9759 | 8482.5758 | 17881.5517 | 21.2064 | 33722794.4772 | 82.484 | 85.2918
Merchant | Wind_BESS | 70% | 0 | 130 | 130 | 100 | 400 | 91 | 408840.4328 | 390868.1359 | 0 | 5706.8191 | 9543.222 | 15250.0411 | 1.3959 | 2.3342 | 3.7301 | 48.9% | 27920.5724 | 25198.3165 | 53118.8889 | 62.9958 | 27279324.4511 | 66.7236 | 69.7916
PPA | Wind_BESS | 70% | 0 | 130 | 130 | 100 | 400 | 91 | 408840.4328 | 404029.1205 | 0 | 4288.2046 | 2.1316e-14 | 4288.2046 | 1.0489 | 5.2138e-18 | 1.0489 | 50.55% | 5365.2069 | 4842.0992 | 10207.3061 | 12.1052 | 34624108.6273 | 84.6886 | 85.6971
Merchant | Wind_BESS | 80% | 0 | 130 | 130 | 100 | 400 | 104 | 408840.4328 | 395091.2339 | 0 | 1391.7514 | 9377.4112 | 10769.1625 | 0.34041 | 2.2937 | 2.6341 | 43.25% | 30564.4754 | 27584.439 | 58148.9144 | 68.9611 | 27608315.5506 | 67.5283 | 69.8783
PPA | Wind_BESS | 80% | 0 | 130 | 130 | 100 | 400 | 104 | 408840.4328 | 408038.8052 | 0 | 544.9228 | 7.1054e-15 | 544.9228 | 0.13328 | 1.7379e-18 | 0.13328 | 44.67% | 2632.87 | 2376.1652 | 5009.0352 | 5.9404 | 35075325.5235 | 85.7922 | 85.9608
Merchant | Wind_BESS | 90% | 0 | 130 | 130 | 100 | 400 | 117 | 408840.4328 | 396391.3617 | 0 | 76.3629 | 9134.3408 | 9210.7037 | 0.018678 | 2.2342 | 2.2529 | 38.57% | 33214.0242 | 29975.6568 | 63189.681 | 74.9391 | 27765708.7273 | 67.9133 | 70.0462
PPA | Wind_BESS | 90% | 0 | 130 | 130 | 100 | 400 | 117 | 408840.4328 | 408804.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.78% | 373.2416 | 336.8505 | 710.0921 | 0.84213 | 35228579.2352 | 86.1671 | 86.1747
Merchant | Wind_BESS | 100% | 0 | 130 | 130 | 100 | 400 | 130 | 408840.4328 | 396569.3414 | 0 | 2.3803e-13 | 8795.4249 | 8795.4249 | 5.8221e-17 | 2.1513 | 2.1513 | 34.73% | 35647.8609 | 32172.1944 | 67820.0553 | 80.4305 | 27825822.9554 | 68.0604 | 70.1663
PPA | Wind_BESS | 100% | 0 | 130 | 130 | 100 | 400 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 0 | 0 | 0 | 35246133.71 | 86.21 | 86.21

## Contract Comparison
configuration | grid_level | Grid_connection_MW | Merchant | PPA | PPA_minus_Merchant_GBP | PPA_vs_Merchant_pct
BESS | 100% | 100 | 1594460.6836
PV | 60% | 96 | 9974513.656 | 12986936.4784 | 3012422.8224 | 30.2012
PV | 70% | 112 | 9981348.2896 | 12996191.984 | 3014843.6944 | 30.2048
PV | 80% | 128 | 9981348.2896 | 12996191.984 | 3014843.6944 | 30.2048
PV | 90% | 144 | 9981348.2896 | 12996191.984 | 3014843.6944 | 30.2048
PV | 100% | 160 | 9981348.2896 | 12996191.984 | 3014843.6944 | 30.2048
PV_BESS | 60% | 96 | 10699515.7617 | 12991142.5775 | 2291626.8158 | 21.418
PV_BESS | 70% | 112 | 10713476.6491 | 12996191.984 | 2282715.3349 | 21.307
PV_BESS | 80% | 128 | 10714538.1051 | 12996191.984 | 2281653.8789 | 21.2949
PV_BESS | 90% | 144 | 10714749.6427 | 12996191.984 | 2281442.3413 | 21.2925
PV_BESS | 100% | 160 | 10714849.9368 | 12996191.984 | 2281342.0472 | 21.2914
PV_Wind | 60% | 174 | 36522363.1625 | 48229955.2538 | 11707592.0913 | 32.056
PV_Wind | 70% | 203 | 36522365.754 | 48242325.694 | 11719959.94 | 32.0898
PV_Wind | 80% | 232 | 36522365.754 | 48242325.694 | 11719959.94 | 32.0898
PV_Wind | 90% | 261 | 36522365.754 | 48242325.694 | 11719959.94 | 32.0898
PV_Wind | 100% | 290 | 36522365.754 | 48242325.694 | 11719959.94 | 32.0898
PV_Wind_BESS | 60% | 174 | 37925626.1604 | 48235576.9129 | 10309950.7525 | 27.1847
PV_Wind_BESS | 70% | 203 | 37947480.2924 | 48242325.694 | 10294845.4015 | 27.1292
PV_Wind_BESS | 80% | 232 | 37952497.4971 | 48242325.694 | 10289828.1968 | 27.1124
PV_Wind_BESS | 90% | 261 | 37952497.4971 | 48242325.694 | 10289828.1968 | 27.1124
PV_Wind_BESS | 100% | 290 | 37952497.4971 | 48242325.694 | 10289828.1968 | 27.1124
Wind | 60% | 78 | 25587734.0855 | 33354565.8625 | 7766831.7771 | 30.3537
Wind | 70% | 91 | 26144855.6502 | 34413913.0994 | 8269057.4492 | 31.6279
Wind | 80% | 104 | 26417359.4994 | 34972176.1927 | 8554816.6933 | 32.3833
Wind | 90% | 117 | 26525029.6153 | 35213956.5542 | 8688926.9389 | 32.7575
Wind | 100% | 130 | 26541017.4644 | 35246133.71 | 8705116.2456 | 32.7987
Wind_BESS | 60% | 78 | 26689118.3973 | 33722794.4772 | 7033676.0799 | 26.3541
Wind_BESS | 70% | 91 | 27279324.4511 | 34624108.6273 | 7344784.1762 | 26.9244
Wind_BESS | 80% | 104 | 27608315.5506 | 35075325.5235 | 7467009.9728 | 27.0462
Wind_BESS | 90% | 117 | 27765708.7273 | 35228579.2352 | 7462870.5079 | 26.878
Wind_BESS | 100% | 130 | 27825822.9554 | 35246133.71 | 7420310.7546 | 26.667

## Revenue Analysis
contract | configuration | grid_level | Grid_connection_MW | RES_capacity_MW | Grid_export_MWh | Net_revenue_GBP | Revenue_per_MWh_RES_GBP | Revenue_per_MWh_export_GBP
Merchant | BESS | 100% | 100 | 0 | 42079.75 | 1594460.6836 |  | 37.8914
Merchant | PV | 60% | 96 | 160 | 144072.8 | 9974513.656 | 66.1658 | 69.2325
PPA | PV | 60% | 96 | 160 | 150643.04 | 12986936.4784 | 86.1486 | 86.21
Merchant | PV | 70% | 112 | 160 | 144167.2 | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 70% | 112 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV | 80% | 128 | 160 | 144167.2 | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 80% | 128 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV | 90% | 144 | 160 | 144167.2 | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 90% | 144 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV | 100% | 160 | 160 | 144167.2 | 9981348.2896 | 66.2111 | 69.2345
PPA | PV | 100% | 160 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 60% | 96 | 160 | 146867.6925 | 10699515.7617 | 70.975 | 72.8514
PPA | PV_BESS | 60% | 96 | 160 | 150739.9324 | 12991142.5775 | 86.1765 | 86.1825
Merchant | PV_BESS | 70% | 112 | 160 | 146834.7636 | 10713476.6491 | 71.0676 | 72.9628
PPA | PV_BESS | 70% | 112 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 80% | 128 | 160 | 146829.1113 | 10714538.1051 | 71.0747 | 72.9728
PPA | PV_BESS | 80% | 128 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 90% | 144 | 160 | 146827.3827 | 10714749.6427 | 71.0761 | 72.9751
PPA | PV_BESS | 90% | 144 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV_BESS | 100% | 160 | 160 | 146826.7259 | 10714849.9368 | 71.0768 | 72.9762
PPA | PV_BESS | 100% | 160 | 160 | 150750.4 | 12996191.984 | 86.21 | 86.21
Merchant | PV_Wind | 60% | 174 | 290 | 536434.4866 | 36522363.1625 | 65.2662 | 68.0835
PPA | PV_Wind | 60% | 174 | 290 | 559447.3408 | 48229955.2538 | 86.1879 | 86.21
Merchant | PV_Wind | 70% | 203 | 290 | 536436.6586 | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 70% | 203 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 80% | 232 | 290 | 536436.6586 | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 80% | 232 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 90% | 261 | 290 | 536436.6586 | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 90% | 261 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind | 100% | 290 | 290 | 536436.6586 | 36522365.754 | 65.2662 | 68.0833
PPA | PV_Wind | 100% | 290 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 60% | 174 | 290 | 540656.5997 | 37925626.1604 | 67.7739 | 70.1473
PPA | PV_Wind_BESS | 60% | 174 | 290 | 559576.8423 | 48235576.9129 | 86.1979 | 86.2001
Merchant | PV_Wind_BESS | 70% | 203 | 290 | 540571.555 | 37947480.2924 | 67.8129 | 70.1988
PPA | PV_Wind_BESS | 70% | 203 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 80% | 232 | 290 | 540551.2048 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 80% | 232 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 90% | 261 | 290 | 540551.2048 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 90% | 261 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | PV_Wind_BESS | 100% | 290 | 290 | 540551.2048 | 37952497.4971 | 67.8219 | 70.2107
PPA | PV_Wind_BESS | 100% | 290 | 290 | 559590.8328 | 48242325.694 | 86.21 | 86.21
Merchant | Wind | 60% | 78 | 130 | 373142.4791 | 25587734.0855 | 62.5861 | 68.5736
PPA | Wind | 60% | 78 | 130 | 386899.0356 | 33354565.8625 | 81.5833 | 86.21
Merchant | Wind | 70% | 91 | 130 | 383983.997 | 26144855.6502 | 63.9488 | 68.0884
PPA | Wind | 70% | 91 | 130 | 399187.0212 | 34413913.0994 | 84.1744 | 86.21
Merchant | Wind | 80% | 104 | 130 | 389554.1342 | 26417359.4994 | 64.6153 | 67.8143
PPA | Wind | 80% | 104 | 130 | 405662.64 | 34972176.1927 | 85.5399 | 86.21
Merchant | Wind | 90% | 117 | 130 | 391919.3031 | 26525029.6153 | 64.8787 | 67.6798
PPA | Wind | 90% | 117 | 130 | 408467.1912 | 35213956.5542 | 86.1313 | 86.21
Merchant | Wind | 100% | 130 | 130 | 392269.4586 | 26541017.4644 | 64.9178 | 67.6602
PPA | Wind | 100% | 130 | 130 | 408840.4328 | 35246133.71 | 86.21 | 86.21
Merchant | Wind_BESS | 60% | 78 | 130 | 381947.8278 | 26689118.3973 | 65.28 | 69.8763
PPA | Wind_BESS | 60% | 78 | 130 | 395381.6114 | 33722794.4772 | 82.484 | 85.2918
Merchant | Wind_BESS | 70% | 91 | 130 | 390868.1359 | 27279324.4511 | 66.7236 | 69.7916
PPA | Wind_BESS | 70% | 91 | 130 | 404029.1205 | 34624108.6273 | 84.6886 | 85.6971
Merchant | Wind_BESS | 80% | 104 | 130 | 395091.2339 | 27608315.5506 | 67.5283 | 69.8783
PPA | Wind_BESS | 80% | 104 | 130 | 408038.8052 | 35075325.5235 | 85.7922 | 85.9608
Merchant | Wind_BESS | 90% | 117 | 130 | 396391.3617 | 27765708.7273 | 67.9133 | 70.0462
PPA | Wind_BESS | 90% | 117 | 130 | 408804.0417 | 35228579.2352 | 86.1671 | 86.1747
Merchant | Wind_BESS | 100% | 130 | 130 | 396569.3414 | 27825822.9554 | 68.0604 | 70.1663
PPA | Wind_BESS | 100% | 130 | 130 | 408840.4328 | 35246133.71 | 86.21 | 86.21

## Curtailment Analysis
contract | configuration | grid_level | Grid_connection_MW | RES_capacity_MW | RES_generation_MWh | Grid_export_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate
Merchant | BESS | 100% | 100 | 0 | 0 | 42079.75 | 0 | 0 | 0 |  |  |  | 4.79%
Merchant | PV | 60% | 96 | 160 | 150750.4 | 144072.8 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 17.09%
PPA | PV | 60% | 96 | 160 | 150750.4 | 150643.04 | 107.36 | 0 | 107.36 | 0.071217 | 0 | 0.071217 | 17.86%
Merchant | PV | 70% | 112 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 14.65%
PPA | PV | 70% | 112 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32%
Merchant | PV | 80% | 128 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 12.82%
PPA | PV | 80% | 128 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41%
Merchant | PV | 90% | 144 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 11.4%
PPA | PV | 90% | 144 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92%
Merchant | PV | 100% | 160 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 10.26%
PPA | PV | 100% | 160 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73%
Merchant | PV_BESS | 60% | 96 | 160 | 150750.4 | 146867.6925 | 0.16 | 1828.3368 | 1828.4968 | 0.00010614 | 1.2128 | 1.2129 | 17.42%
PPA | PV_BESS | 60% | 96 | 160 | 150750.4 | 150739.9324 | 7.1054e-15 | 0 | 7.1054e-15 | 4.7134e-18 | 0 | 4.7134e-18 | 17.88%
Merchant | PV_BESS | 70% | 112 | 160 | 150750.4 | 146834.7636 | 6.3949e-14 | 1828.4968 | 1828.4968 | 4.242e-17 | 1.2129 | 1.2129 | 14.93%
PPA | PV_BESS | 70% | 112 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32%
Merchant | PV_BESS | 80% | 128 | 160 | 150750.4 | 146829.1113 | 7.1054e-15 | 1828.4968 | 1828.4968 | 4.7134e-18 | 1.2129 | 1.2129 | 13.06%
PPA | PV_BESS | 80% | 128 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41%
Merchant | PV_BESS | 90% | 144 | 160 | 150750.4 | 146827.3827 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 11.61%
PPA | PV_BESS | 90% | 144 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92%
Merchant | PV_BESS | 100% | 160 | 160 | 150750.4 | 146826.7259 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 10.45%
PPA | PV_BESS | 100% | 160 | 160 | 150750.4 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73%
Merchant | PV_Wind | 60% | 174 | 290 | 559590.8328 | 536434.4866 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 35.1%
PPA | PV_Wind | 60% | 174 | 290 | 559590.8328 | 559447.3408 | 143.4919 | 0 | 143.4919 | 0.025642 | 0 | 0.025642 | 36.6%
Merchant | PV_Wind | 70% | 203 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 30.08%
PPA | PV_Wind | 70% | 203 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38%
Merchant | PV_Wind | 80% | 232 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 26.32%
PPA | PV_Wind | 80% | 232 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46%
Merchant | PV_Wind | 90% | 261 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 23.4%
PPA | PV_Wind | 90% | 261 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41%
Merchant | PV_Wind | 100% | 290 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 21.06%
PPA | PV_Wind | 100% | 290 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97%
Merchant | PV_Wind_BESS | 60% | 174 | 290 | 559590.8328 | 540656.5997 | 49.7966 | 14798.0817 | 14847.8783 | 0.0088987 | 2.6444 | 2.6533 | 35.37%
PPA | PV_Wind_BESS | 60% | 174 | 290 | 559590.8328 | 559576.8423 | 0 | 0 | 0 | 0 | 0 | 0 | 36.61%
Merchant | PV_Wind_BESS | 70% | 203 | 290 | 559590.8328 | 540571.555 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 30.32%
PPA | PV_Wind_BESS | 70% | 203 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38%
Merchant | PV_Wind_BESS | 80% | 232 | 290 | 559590.8328 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 26.53%
PPA | PV_Wind_BESS | 80% | 232 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46%
Merchant | PV_Wind_BESS | 90% | 261 | 290 | 559590.8328 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 23.58%
PPA | PV_Wind_BESS | 90% | 261 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41%
Merchant | PV_Wind_BESS | 100% | 290 | 290 | 559590.8328 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 21.22%
PPA | PV_Wind_BESS | 100% | 290 | 290 | 559590.8328 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97%
Merchant | Wind | 60% | 78 | 130 | 408840.4328 | 373142.4791 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 54.46%
PPA | Wind | 60% | 78 | 130 | 408840.4328 | 386899.0356 | 21941.3971 | 0 | 21941.3971 | 5.3667 | 0 | 5.3667 | 56.47%
Merchant | Wind | 70% | 91 | 130 | 408840.4328 | 383983.997 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 48.04%
PPA | Wind | 70% | 91 | 130 | 408840.4328 | 399187.0212 | 9653.4116 | 0 | 9653.4116 | 2.3612 | 0 | 2.3612 | 49.94%
Merchant | Wind | 80% | 104 | 130 | 408840.4328 | 389554.1342 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 42.64%
PPA | Wind | 80% | 104 | 130 | 408840.4328 | 405662.64 | 3177.7928 | 0 | 3177.7928 | 0.77727 | 0 | 0.77727 | 44.41%
Merchant | Wind | 90% | 117 | 130 | 408840.4328 | 391919.3031 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 38.13%
PPA | Wind | 90% | 117 | 130 | 408840.4328 | 408467.1912 | 373.2416 | 0 | 373.2416 | 0.091293 | 0 | 0.091293 | 39.74%
Merchant | Wind | 100% | 130 | 130 | 408840.4328 | 392269.4586 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 34.35%
PPA | Wind | 100% | 130 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8%
Merchant | Wind_BESS | 60% | 78 | 130 | 408840.4328 | 381947.8278 | 14615.0449 | 9749.2443 | 24364.2892 | 3.5748 | 2.3846 | 5.9594 | 55.75%
PPA | Wind_BESS | 60% | 78 | 130 | 408840.4328 | 395381.6114 | 12542.4212 | 2.1316e-14 | 12542.4212 | 3.0678 | 5.2138e-18 | 3.0678 | 57.71%
Merchant | Wind_BESS | 70% | 91 | 130 | 408840.4328 | 390868.1359 | 5706.8191 | 9543.222 | 15250.0411 | 1.3959 | 2.3342 | 3.7301 | 48.9%
PPA | Wind_BESS | 70% | 91 | 130 | 408840.4328 | 404029.1205 | 4288.2046 | 2.1316e-14 | 4288.2046 | 1.0489 | 5.2138e-18 | 1.0489 | 50.55%
Merchant | Wind_BESS | 80% | 104 | 130 | 408840.4328 | 395091.2339 | 1391.7514 | 9377.4112 | 10769.1625 | 0.34041 | 2.2937 | 2.6341 | 43.25%
PPA | Wind_BESS | 80% | 104 | 130 | 408840.4328 | 408038.8052 | 544.9228 | 7.1054e-15 | 544.9228 | 0.13328 | 1.7379e-18 | 0.13328 | 44.67%
Merchant | Wind_BESS | 90% | 117 | 130 | 408840.4328 | 396391.3617 | 76.3629 | 9134.3408 | 9210.7037 | 0.018678 | 2.2342 | 2.2529 | 38.57%
PPA | Wind_BESS | 90% | 117 | 130 | 408840.4328 | 408804.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 39.78%
Merchant | Wind_BESS | 100% | 130 | 130 | 408840.4328 | 396569.3414 | 2.3803e-13 | 8795.4249 | 8795.4249 | 5.8221e-17 | 2.1513 | 2.1513 | 34.73%
PPA | Wind_BESS | 100% | 130 | 130 | 408840.4328 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8%

## Battery Analysis
contract | configuration | grid_level | Grid_connection_MW | BESS_power_MW | BESS_energy_MWh | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP
Merchant | BESS | 100% | 100 | 100 | 400 | 46625.7618 | 42079.75 | 88705.5118 | 105.1994 | 1594460.6836
Merchant | PV_BESS | 60% | 96 | 100 | 400 | 21068.8275 | 19014.6168 | 40083.4443 | 47.5365 | 10699515.7617
PPA | PV_BESS | 60% | 96 | 100 | 400 | 107.36 | 96.8924 | 204.2524 | 0.24223 | 12991142.5775
Merchant | PV_BESS | 70% | 112 | 100 | 400 | 21406.56 | 19319.4204 | 40725.9804 | 48.2986 | 10713476.6491
PPA | PV_BESS | 70% | 112 | 100 | 400 | 0 | 0 | 0 | 0 | 12996191.984
Merchant | PV_BESS | 80% | 128 | 100 | 400 | 21464.5323 | 19371.7404 | 40836.2727 | 48.4294 | 10714538.1051
PPA | PV_BESS | 80% | 128 | 100 | 400 | 0 | 0 | 0 | 0 | 12996191.984
Merchant | PV_BESS | 90% | 144 | 100 | 400 | 21482.2608 | 19387.7404 | 40870.0012 | 48.4694 | 10714749.6427
PPA | PV_BESS | 90% | 144 | 100 | 400 | 0 | 0 | 0 | 0 | 12996191.984
Merchant | PV_BESS | 100% | 160 | 100 | 400 | 21488.9977 | 19393.8204 | 40882.8181 | 48.4846 | 10714849.9368
PPA | PV_BESS | 100% | 160 | 100 | 400 | 0 | 0 | 0 | 0 | 12996191.984
Merchant | PV_Wind_BESS | 60% | 174 | 100 | 400 | 41911.3316 | 37824.9768 | 79736.3084 | 94.5624 | 37925626.1604
PPA | PV_Wind_BESS | 60% | 174 | 100 | 400 | 143.4919 | 129.5015 | 272.9934 | 0.32375 | 48235576.9129
Merchant | PV_Wind_BESS | 70% | 203 | 100 | 400 | 42783.5844 | 38612.1849 | 81395.7693 | 96.5305 | 37947480.2924
PPA | PV_Wind_BESS | 70% | 203 | 100 | 400 | 0 | 0 | 0 | 0 | 48242325.694
Merchant | PV_Wind_BESS | 80% | 232 | 100 | 400 | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971
PPA | PV_Wind_BESS | 80% | 232 | 100 | 400 | 0 | 0 | 0 | 0 | 48242325.694
Merchant | PV_Wind_BESS | 90% | 261 | 100 | 400 | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971
PPA | PV_Wind_BESS | 90% | 261 | 100 | 400 | 0 | 0 | 0 | 0 | 48242325.694
Merchant | PV_Wind_BESS | 100% | 290 | 100 | 400 | 42992.3052 | 38800.5554 | 81792.8606 | 97.0014 | 37952497.4971
PPA | PV_Wind_BESS | 100% | 290 | 100 | 400 | 0 | 0 | 0 | 0 | 48242325.694
Merchant | Wind_BESS | 60% | 78 | 100 | 400 | 25931.4432 | 23403.1275 | 49334.5707 | 58.5078 | 26689118.3973
PPA | Wind_BESS | 60% | 78 | 100 | 400 | 9398.9759 | 8482.5758 | 17881.5517 | 21.2064 | 33722794.4772
Merchant | Wind_BESS | 70% | 91 | 100 | 400 | 27920.5724 | 25198.3165 | 53118.8889 | 62.9958 | 27279324.4511
PPA | Wind_BESS | 70% | 91 | 100 | 400 | 5365.2069 | 4842.0992 | 10207.3061 | 12.1052 | 34624108.6273
Merchant | Wind_BESS | 80% | 104 | 100 | 400 | 30564.4754 | 27584.439 | 58148.9144 | 68.9611 | 27608315.5506
PPA | Wind_BESS | 80% | 104 | 100 | 400 | 2632.87 | 2376.1652 | 5009.0352 | 5.9404 | 35075325.5235
Merchant | Wind_BESS | 90% | 117 | 100 | 400 | 33214.0242 | 29975.6568 | 63189.681 | 74.9391 | 27765708.7273
PPA | Wind_BESS | 90% | 117 | 100 | 400 | 373.2416 | 336.8505 | 710.0921 | 0.84213 | 35228579.2352
Merchant | Wind_BESS | 100% | 130 | 100 | 400 | 35647.8609 | 32172.1944 | 67820.0553 | 80.4305 | 27825822.9554
PPA | Wind_BESS | 100% | 130 | 100 | 400 | 0 | 0 | 0 | 0 | 35246133.71

## Grid Sensitivity
contract | configuration | grid_level | Grid_connection_MW | Grid_export_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate | Battery_discharge_MWh | Net_revenue_GBP
Merchant | BESS | 100% | 100 | 42079.75 | 0 | 0 | 0 |  |  |  | 4.79% | 42079.75 | 1594460.6836
Merchant | PV | 60% | 96 | 144072.8 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 17.09% | 0 | 9974513.656
Merchant | PV | 70% | 112 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 14.65% | 0 | 9981348.2896
Merchant | PV | 80% | 128 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 12.82% | 0 | 9981348.2896
Merchant | PV | 90% | 144 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 11.4% | 0 | 9981348.2896
Merchant | PV | 100% | 160 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 10.26% | 0 | 9981348.2896
Merchant | PV_BESS | 60% | 96 | 146867.6925 | 0.16 | 1828.3368 | 1828.4968 | 0.00010614 | 1.2128 | 1.2129 | 17.42% | 19014.6168 | 10699515.7617
Merchant | PV_BESS | 70% | 112 | 146834.7636 | 6.3949e-14 | 1828.4968 | 1828.4968 | 4.242e-17 | 1.2129 | 1.2129 | 14.93% | 19319.4204 | 10713476.6491
Merchant | PV_BESS | 80% | 128 | 146829.1113 | 7.1054e-15 | 1828.4968 | 1828.4968 | 4.7134e-18 | 1.2129 | 1.2129 | 13.06% | 19371.7404 | 10714538.1051
Merchant | PV_BESS | 90% | 144 | 146827.3827 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 11.61% | 19387.7404 | 10714749.6427
Merchant | PV_BESS | 100% | 160 | 146826.7259 | 0 | 1828.4968 | 1828.4968 | 0 | 1.2129 | 1.2129 | 10.45% | 19393.8204 | 10714849.9368
Merchant | PV_Wind | 60% | 174 | 536434.4866 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 35.1% | 0 | 36522363.1625
Merchant | PV_Wind | 70% | 203 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 30.08% | 0 | 36522365.754
Merchant | PV_Wind | 80% | 232 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 26.32% | 0 | 36522365.754
Merchant | PV_Wind | 90% | 261 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 23.4% | 0 | 36522365.754
Merchant | PV_Wind | 100% | 290 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 21.06% | 0 | 36522365.754
Merchant | PV_Wind_BESS | 60% | 174 | 540656.5997 | 49.7966 | 14798.0817 | 14847.8783 | 0.0088987 | 2.6444 | 2.6533 | 35.37% | 37824.9768 | 37925626.1604
Merchant | PV_Wind_BESS | 70% | 203 | 540571.555 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 30.32% | 38612.1849 | 37947480.2924
Merchant | PV_Wind_BESS | 80% | 232 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 26.53% | 38800.5554 | 37952497.4971
Merchant | PV_Wind_BESS | 90% | 261 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 23.58% | 38800.5554 | 37952497.4971
Merchant | PV_Wind_BESS | 100% | 290 | 540551.2048 | 0 | 14847.8783 | 14847.8783 | 0 | 2.6533 | 2.6533 | 21.22% | 38800.5554 | 37952497.4971
Merchant | Wind | 60% | 78 | 373142.4791 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 54.46% | 0 | 25587734.0855
Merchant | Wind | 70% | 91 | 383983.997 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 48.04% | 0 | 26144855.6502
Merchant | Wind | 80% | 104 | 389554.1342 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 42.64% | 0 | 26417359.4994
Merchant | Wind | 90% | 117 | 391919.3031 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 38.13% | 0 | 26525029.6153
Merchant | Wind | 100% | 130 | 392269.4586 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 34.35% | 0 | 26541017.4644
Merchant | Wind_BESS | 60% | 78 | 381947.8278 | 14615.0449 | 9749.2443 | 24364.2892 | 3.5748 | 2.3846 | 5.9594 | 55.75% | 23403.1275 | 26689118.3973
Merchant | Wind_BESS | 70% | 91 | 390868.1359 | 5706.8191 | 9543.222 | 15250.0411 | 1.3959 | 2.3342 | 3.7301 | 48.9% | 25198.3165 | 27279324.4511
Merchant | Wind_BESS | 80% | 104 | 395091.2339 | 1391.7514 | 9377.4112 | 10769.1625 | 0.34041 | 2.2937 | 2.6341 | 43.25% | 27584.439 | 27608315.5506
Merchant | Wind_BESS | 90% | 117 | 396391.3617 | 76.3629 | 9134.3408 | 9210.7037 | 0.018678 | 2.2342 | 2.2529 | 38.57% | 29975.6568 | 27765708.7273
Merchant | Wind_BESS | 100% | 130 | 396569.3414 | 2.3803e-13 | 8795.4249 | 8795.4249 | 5.8221e-17 | 2.1513 | 2.1513 | 34.73% | 32172.1944 | 27825822.9554
PPA | PV | 60% | 96 | 150643.04 | 107.36 | 0 | 107.36 | 0.071217 | 0 | 0.071217 | 17.86% | 0 | 12986936.4784
PPA | PV | 70% | 112 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 12996191.984
PPA | PV | 80% | 128 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 12996191.984
PPA | PV | 90% | 144 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 12996191.984
PPA | PV | 100% | 160 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 12996191.984
PPA | PV_BESS | 60% | 96 | 150739.9324 | 7.1054e-15 | 0 | 7.1054e-15 | 4.7134e-18 | 0 | 4.7134e-18 | 17.88% | 96.8924 | 12991142.5775
PPA | PV_BESS | 70% | 112 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 15.32% | 0 | 12996191.984
PPA | PV_BESS | 80% | 128 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 13.41% | 0 | 12996191.984
PPA | PV_BESS | 90% | 144 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 11.92% | 0 | 12996191.984
PPA | PV_BESS | 100% | 160 | 150750.4 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73% | 0 | 12996191.984
PPA | PV_Wind | 60% | 174 | 559447.3408 | 143.4919 | 0 | 143.4919 | 0.025642 | 0 | 0.025642 | 36.6% | 0 | 48229955.2538
PPA | PV_Wind | 70% | 203 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 48242325.694
PPA | PV_Wind | 80% | 232 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 48242325.694
PPA | PV_Wind | 90% | 261 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 48242325.694
PPA | PV_Wind | 100% | 290 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 48242325.694
PPA | PV_Wind_BESS | 60% | 174 | 559576.8423 | 0 | 0 | 0 | 0 | 0 | 0 | 36.61% | 129.5015 | 48235576.9129
PPA | PV_Wind_BESS | 70% | 203 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 31.38% | 0 | 48242325.694
PPA | PV_Wind_BESS | 80% | 232 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 27.46% | 0 | 48242325.694
PPA | PV_Wind_BESS | 90% | 261 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 24.41% | 0 | 48242325.694
PPA | PV_Wind_BESS | 100% | 290 | 559590.8328 | 0 | 0 | 0 | 0 | 0 | 0 | 21.97% | 0 | 48242325.694
PPA | Wind | 60% | 78 | 386899.0356 | 21941.3971 | 0 | 21941.3971 | 5.3667 | 0 | 5.3667 | 56.47% | 0 | 33354565.8625
PPA | Wind | 70% | 91 | 399187.0212 | 9653.4116 | 0 | 9653.4116 | 2.3612 | 0 | 2.3612 | 49.94% | 0 | 34413913.0994
PPA | Wind | 80% | 104 | 405662.64 | 3177.7928 | 0 | 3177.7928 | 0.77727 | 0 | 0.77727 | 44.41% | 0 | 34972176.1927
PPA | Wind | 90% | 117 | 408467.1912 | 373.2416 | 0 | 373.2416 | 0.091293 | 0 | 0.091293 | 39.74% | 0 | 35213956.5542
PPA | Wind | 100% | 130 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 35246133.71
PPA | Wind_BESS | 60% | 78 | 395381.6114 | 12542.4212 | 2.1316e-14 | 12542.4212 | 3.0678 | 5.2138e-18 | 3.0678 | 57.71% | 8482.5758 | 33722794.4772
PPA | Wind_BESS | 70% | 91 | 404029.1205 | 4288.2046 | 2.1316e-14 | 4288.2046 | 1.0489 | 5.2138e-18 | 1.0489 | 50.55% | 4842.0992 | 34624108.6273
PPA | Wind_BESS | 80% | 104 | 408038.8052 | 544.9228 | 7.1054e-15 | 544.9228 | 0.13328 | 1.7379e-18 | 0.13328 | 44.67% | 2376.1652 | 35075325.5235
PPA | Wind_BESS | 90% | 117 | 408804.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 39.78% | 336.8505 | 35228579.2352
PPA | Wind_BESS | 100% | 130 | 408840.4328 | 0 | 0 | 0 | 0 | 0 | 0 | 35.8% | 0 | 35246133.71

## Model Parameters
Parameter | Value | Unit / Description
Simulation start | 2024-01-01 00:00:00+00:00 | UTC
Simulation end | 2025-01-01 00:00:00+00:00 | UTC, exclusive upper bound
Time resolution | 1.0 hour | hours
PV capacity | 160 | MW
Wind capacity | 130 | MW
Battery power | 100 | MW
Battery energy | 400 | MWh
Battery duration | 4 | hours
Initial SOC | 0.5 | fraction
Minimum SOC | 0.1 | fraction
Maximum SOC | 0.9 | fraction
Charging efficiency | 0.95 | fraction
Discharging efficiency | 0.95 | fraction
Round-trip efficiency | 0.9025 | fraction
PPA price | 86.21 | GBP/MWh
Degradation cost | 42.8 | GBP/MWh discharged
Merchant alpha | 0 | Merchant
PPA alpha | 1 | 100% fixed-price PPA
Grid connection levels | 60%, 70%, 80%, 90%, 100% | % of installed RES capacity
Grid import rule | Grid imports allowed only for standalone BESS | P_in = 0 for all other configurations
SOC balancing | Full-horizon terminal SOC balance | Final SOC returns to initial SOC
Curtailment reporting | Physical + economic + total | Post-processed decomposition; dispatch unchanged