## Merchant Summary
degradation_case | c_deg_GBP_per_MWh | contract | configuration | grid_level | PV_capacity_MW | Wind_capacity_MW | RES_capacity_MW | BESS_power_MW | BESS_energy_MWh | Grid_connection_MW | RES_generation_MWh | Grid_export_MWh | Grid_import_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP | Revenue_per_MWh_RES_GBP | Revenue_per_MWh_export_GBP | Solver_status
Exclude c_deg | 0 | Merchant | BESS | 1 | 0 | 0 | 0 | 100 | 400 | 100 | 0 | 198176.75 | 219586.4266 | 0 | 0 | 0 |  |  |  | 0.22561 | 219586.4266 | 198176.75 | 417763.1766 | 495.4419 | 6296284.0788 |  | 31.7711 | optimal
Exclude c_deg | 0 | Merchant | PV | 0.6 | 160 | 0 | 160 | 0 | 0 | 96 | 150750.4 | 144072.8 | 0 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 0.17085 | 0 | 0 | 0 |  | 9974513.656 | 66.1658 | 69.2325 | optimal
Exclude c_deg | 0 | Merchant | PV | 0.7 | 160 | 0 | 160 | 0 | 0 | 112 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.14654 | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345 | optimal
Exclude c_deg | 0 | Merchant | PV | 0.8 | 160 | 0 | 160 | 0 | 0 | 128 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.12822 | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345 | optimal
Exclude c_deg | 0 | Merchant | PV | 0.9 | 160 | 0 | 160 | 0 | 0 | 144 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.11398 | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345 | optimal
Exclude c_deg | 0 | Merchant | PV | 1 | 160 | 0 | 160 | 0 | 0 | 160 | 150750.4 | 144167.2 | 0 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.10258 | 0 | 0 | 0 |  | 9981348.2896 | 66.2111 | 69.2345 | optimal
Exclude c_deg | 0 | Merchant | PV_BESS | 0.6 | 160 | 0 | 160 | 100 | 400 | 96 | 150750.4 | 140725.9579 | 0 | 0.16 | 1431.9747 | 1432.1347 | 0.00010614 | 0.9499 | 0.95 | 0.16688 | 88126.2289 | 79533.9216 | 167660.1505 | 198.8348 | 12709388.8068 | 84.3075 | 90.313 | optimal
Exclude c_deg | 0 | Merchant | PV_BESS | 0.7 | 160 | 0 | 160 | 100 | 400 | 112 | 150750.4 | 140653.018 | 0 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.14297 | 88874.3304 | 80209.0832 | 169083.4136 | 200.5227 | 12759375.6887 | 84.6391 | 90.7153 | optimal
Exclude c_deg | 0 | Merchant | PV_BESS | 0.8 | 160 | 0 | 160 | 100 | 400 | 128 | 150750.4 | 140632.0288 | 0 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.12508 | 89089.6049 | 80403.3684 | 169492.9733 | 201.0084 | 12766280.4109 | 84.6849 | 90.7779 | optimal
Exclude c_deg | 0 | Merchant | PV_BESS | 0.9 | 160 | 0 | 160 | 100 | 400 | 144 | 150750.4 | 140624.9926 | 0 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.11118 | 89161.7706 | 80468.498 | 169630.2686 | 201.1712 | 12767643.1516 | 84.6939 | 90.7921 | optimal
Exclude c_deg | 0 | Merchant | PV_BESS | 1 | 160 | 0 | 160 | 100 | 400 | 160 | 150750.4 | 140619.807 | 0 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.10005 | 89214.9562 | 80516.498 | 169731.4542 | 201.2912 | 12768172.6569 | 84.6974 | 90.7992 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind | 0.6 | 160 | 130 | 290 | 0 | 0 | 174 | 559590.8328 | 536434.4866 | 0 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 0.35097 | 0 | 0 | 0 |  | 36522363.1625 | 65.2662 | 68.0835 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind | 0.7 | 160 | 130 | 290 | 0 | 0 | 203 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.30084 | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind | 0.8 | 160 | 130 | 290 | 0 | 0 | 232 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.26323 | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind | 0.9 | 160 | 130 | 290 | 0 | 0 | 261 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.23398 | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind | 1 | 160 | 130 | 290 | 0 | 0 | 290 | 559590.8328 | 536436.6586 | 0 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.21059 | 0 | 0 | 0 |  | 36522365.754 | 65.2662 | 68.0833 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind_BESS | 0.6 | 160 | 130 | 290 | 100 | 400 | 174 | 559590.8328 | 528526.1 | 0 | 51.9978 | 12782.0742 | 12834.072 | 0.0092921 | 2.2842 | 2.2935 | 0.3458 | 186981.1355 | 168750.4748 | 355731.6104 | 421.8762 | 41968880.7561 | 74.9992 | 79.4074 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind_BESS | 0.7 | 160 | 130 | 290 | 100 | 400 | 203 | 559590.8328 | 528584.1914 | 0 | 0 | 12479.0444 | 12479.0444 | 0 | 2.23 | 2.23 | 0.29643 | 190026.6352 | 171499.0383 | 361525.6735 | 428.7476 | 42053137.7164 | 75.1498 | 79.5581 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind_BESS | 0.8 | 160 | 130 | 290 | 100 | 400 | 232 | 559590.8328 | 528577.8404 | 0 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.25938 | 190314.8286 | 171759.1328 | 362073.9614 | 429.3978 | 42068331.9756 | 75.1769 | 79.5878 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind_BESS | 0.9 | 160 | 130 | 290 | 100 | 400 | 261 | 559590.8328 | 528569.2828 | 0 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.23055 | 190402.5994 | 171838.3459 | 362240.9453 | 429.5959 | 42068778.8918 | 75.1777 | 79.5899 | optimal
Exclude c_deg | 0 | Merchant | PV_Wind_BESS | 1 | 160 | 130 | 290 | 100 | 400 | 290 | 559590.8328 | 528569.2828 | 0 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.2075 | 190402.5994 | 171838.3459 | 362240.9453 | 429.5959 | 42068778.8918 | 75.1777 | 79.5899 | optimal
Exclude c_deg | 0 | Merchant | Wind | 0.6 | 0 | 130 | 130 | 0 | 0 | 78 | 408840.4328 | 373142.4791 | 0 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 0.54461 | 0 | 0 | 0 |  | 25587734.0855 | 62.5861 | 68.5736 | optimal
Exclude c_deg | 0 | Merchant | Wind | 0.7 | 0 | 130 | 130 | 0 | 0 | 91 | 408840.4328 | 383983.997 | 0 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 0.48037 | 0 | 0 | 0 |  | 26144855.6502 | 63.9488 | 68.0884 | optimal
Exclude c_deg | 0 | Merchant | Wind | 0.8 | 0 | 130 | 130 | 0 | 0 | 104 | 408840.4328 | 389554.1342 | 0 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 0.42642 | 0 | 0 | 0 |  | 26417359.4994 | 64.6153 | 67.8143 | optimal
Exclude c_deg | 0 | Merchant | Wind | 0.9 | 0 | 130 | 130 | 0 | 0 | 117 | 408840.4328 | 391919.3031 | 0 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 0.38135 | 0 | 0 | 0 |  | 26525029.6153 | 64.8787 | 67.6798 | optimal
Exclude c_deg | 0 | Merchant | Wind | 1 | 0 | 130 | 130 | 0 | 0 | 130 | 408840.4328 | 392269.4586 | 0 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 0.34352 | 0 | 0 | 0 |  | 26541017.4644 | 64.9178 | 67.6602 | optimal
Exclude c_deg | 0 | Merchant | Wind_BESS | 0.6 | 0 | 130 | 130 | 100 | 400 | 78 | 408840.4328 | 376327.6308 | 0 | 14360.2191 | 8744.0545 | 23104.2737 | 3.5124 | 2.1387 | 5.6512 | 0.54926 | 96497.7265 | 87089.1981 | 183586.9246 | 217.723 | 28777135.9846 | 70.3872 | 76.4683 | optimal
Exclude c_deg | 0 | Merchant | Wind_BESS | 0.7 | 0 | 130 | 130 | 100 | 400 | 91 | 408840.4328 | 383240.7976 | 0 | 5633.2235 | 8868.7636 | 14501.9871 | 1.3779 | 2.1692 | 3.5471 | 0.47944 | 113822.0313 | 102724.3832 | 216546.4145 | 256.811 | 29728363.5153 | 72.7139 | 77.571 | optimal
Exclude c_deg | 0 | Merchant | Wind_BESS | 0.8 | 0 | 130 | 130 | 100 | 400 | 104 | 408840.4328 | 386345.56 | 0 | 1408.7327 | 8520.4404 | 9929.1731 | 0.34457 | 2.0841 | 2.4286 | 0.42291 | 128878.9718 | 116313.272 | 245192.2438 | 290.7832 | 30387589.4131 | 74.3263 | 78.6539 | optimal
Exclude c_deg | 0 | Merchant | Wind_BESS | 0.9 | 0 | 130 | 130 | 100 | 400 | 117 | 408840.4328 | 386995.2767 | 0 | 80.4733 | 7936.3162 | 8016.7894 | 0.019683 | 1.9412 | 1.9609 | 0.37655 | 141829.4018 | 128001.0351 | 269830.4369 | 320.0026 | 30832698.1829 | 75.415 | 79.672 | optimal
Exclude c_deg | 0 | Merchant | Wind_BESS | 1 | 0 | 130 | 130 | 100 | 400 | 130 | 408840.4328 | 386743.6245 | 0 | 0 | 7279.9342 | 7279.9342 | 0 | 1.7806 | 1.7806 | 0.33868 | 151967.9388 | 137151.0647 | 289119.0035 | 342.8777 | 31130302.1408 | 76.1429 | 80.4934 | optimal

## Battery Analysis
configuration | grid_level | Grid_connection_MW | BESS_power_MW | BESS_energy_MWh | Battery_charge_MWh | Battery_discharge_MWh | Battery_throughput_MWh | Equivalent_discharge_cycles | Net_revenue_GBP
BESS | 1 | 100 | 100 | 400 | 219586.4266 | 198176.75 | 417763.1766 | 495.4419 | 6296284.0788
PV_BESS | 0.6 | 96 | 100 | 400 | 88126.2289 | 79533.9216 | 167660.1505 | 198.8348 | 12709388.8068
PV_BESS | 0.7 | 112 | 100 | 400 | 88874.3304 | 80209.0832 | 169083.4136 | 200.5227 | 12759375.6887
PV_BESS | 0.8 | 128 | 100 | 400 | 89089.6049 | 80403.3684 | 169492.9733 | 201.0084 | 12766280.4109
PV_BESS | 0.9 | 144 | 100 | 400 | 89161.7706 | 80468.498 | 169630.2686 | 201.1712 | 12767643.1516
PV_BESS | 1 | 160 | 100 | 400 | 89214.9562 | 80516.498 | 169731.4542 | 201.2912 | 12768172.6569
PV_Wind_BESS | 0.6 | 174 | 100 | 400 | 186981.1355 | 168750.4748 | 355731.6104 | 421.8762 | 41968880.7561
PV_Wind_BESS | 0.7 | 203 | 100 | 400 | 190026.6352 | 171499.0383 | 361525.6735 | 428.7476 | 42053137.7164
PV_Wind_BESS | 0.8 | 232 | 100 | 400 | 190314.8286 | 171759.1328 | 362073.9614 | 429.3978 | 42068331.9756
PV_Wind_BESS | 0.9 | 261 | 100 | 400 | 190402.5994 | 171838.3459 | 362240.9453 | 429.5959 | 42068778.8918
PV_Wind_BESS | 1 | 290 | 100 | 400 | 190402.5994 | 171838.3459 | 362240.9453 | 429.5959 | 42068778.8918
Wind_BESS | 0.6 | 78 | 100 | 400 | 96497.7265 | 87089.1981 | 183586.9246 | 217.723 | 28777135.9846
Wind_BESS | 0.7 | 91 | 100 | 400 | 113822.0313 | 102724.3832 | 216546.4145 | 256.811 | 29728363.5153
Wind_BESS | 0.8 | 104 | 100 | 400 | 128878.9718 | 116313.272 | 245192.2438 | 290.7832 | 30387589.4131
Wind_BESS | 0.9 | 117 | 100 | 400 | 141829.4018 | 128001.0351 | 269830.4369 | 320.0026 | 30832698.1829
Wind_BESS | 1 | 130 | 100 | 400 | 151967.9388 | 137151.0647 | 289119.0035 | 342.8777 | 31130302.1408

## Curtailment Analysis
configuration | grid_level | Grid_connection_MW | RES_capacity_MW | RES_generation_MWh | Grid_export_MWh | Physical_curtailment_MWh | Economic_curtailment_MWh | Total_curtailment_MWh | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Grid_utilisation_rate
BESS | 1 | 100 | 0 | 0 | 198176.75 | 0 | 0 | 0 |  |  |  | 0.22561
PV | 0.6 | 96 | 160 | 150750.4 | 144072.8 | 107.36 | 6570.24 | 6677.6 | 0.071217 | 4.3584 | 4.4296 | 0.17085
PV | 0.7 | 112 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.14654
PV | 0.8 | 128 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.12822
PV | 0.9 | 144 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.11398
PV | 1 | 160 | 160 | 150750.4 | 144167.2 | 0 | 6583.2 | 6583.2 | 0 | 4.367 | 4.367 | 0.10258
PV_BESS | 0.6 | 96 | 160 | 150750.4 | 140725.9579 | 0.16 | 1431.9747 | 1432.1347 | 0.00010614 | 0.9499 | 0.95 | 0.16688
PV_BESS | 0.7 | 112 | 160 | 150750.4 | 140653.018 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.14297
PV_BESS | 0.8 | 128 | 160 | 150750.4 | 140632.0288 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.12508
PV_BESS | 0.9 | 144 | 160 | 150750.4 | 140624.9926 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.11118
PV_BESS | 1 | 160 | 160 | 150750.4 | 140619.807 | 0 | 1432.1347 | 1432.1347 | 0 | 0.95 | 0.95 | 0.10005
PV_Wind | 0.6 | 174 | 290 | 559590.8328 | 536434.4866 | 143.4919 | 23012.8543 | 23156.3462 | 0.025642 | 4.1124 | 4.1381 | 0.35097
PV_Wind | 0.7 | 203 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.30084
PV_Wind | 0.8 | 232 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.26323
PV_Wind | 0.9 | 261 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.23398
PV_Wind | 1 | 290 | 290 | 559590.8328 | 536436.6586 | 0 | 23154.1742 | 23154.1742 | 0 | 4.1377 | 4.1377 | 0.21059
PV_Wind_BESS | 0.6 | 174 | 290 | 559590.8328 | 528526.1 | 51.9978 | 12782.0742 | 12834.072 | 0.0092921 | 2.2842 | 2.2935 | 0.3458
PV_Wind_BESS | 0.7 | 203 | 290 | 559590.8328 | 528584.1914 | 0 | 12479.0444 | 12479.0444 | 0 | 2.23 | 2.23 | 0.29643
PV_Wind_BESS | 0.8 | 232 | 290 | 559590.8328 | 528577.8404 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.25938
PV_Wind_BESS | 0.9 | 261 | 290 | 559590.8328 | 528569.2828 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.23055
PV_Wind_BESS | 1 | 290 | 290 | 559590.8328 | 528569.2828 | 0 | 12457.2966 | 12457.2966 | 0 | 2.2261 | 2.2261 | 0.2075
Wind | 0.6 | 78 | 130 | 408840.4328 | 373142.4791 | 21941.3971 | 13756.5566 | 35697.9537 | 5.3667 | 3.3648 | 8.7315 | 0.54461
Wind | 0.7 | 91 | 130 | 408840.4328 | 383983.997 | 9653.4116 | 15203.0242 | 24856.4358 | 2.3612 | 3.7186 | 6.0797 | 0.48037
Wind | 0.8 | 104 | 130 | 408840.4328 | 389554.1342 | 3177.7928 | 16108.5058 | 19286.2986 | 0.77727 | 3.94 | 4.7173 | 0.42642
Wind | 0.9 | 117 | 130 | 408840.4328 | 391919.3031 | 373.2416 | 16547.8881 | 16921.1297 | 0.091293 | 4.0475 | 4.1388 | 0.38135
Wind | 1 | 130 | 130 | 408840.4328 | 392269.4586 | 0 | 16570.9742 | 16570.9742 | 0 | 4.0532 | 4.0532 | 0.34352
Wind_BESS | 0.6 | 78 | 130 | 408840.4328 | 376327.6308 | 14360.2191 | 8744.0545 | 23104.2737 | 3.5124 | 2.1387 | 5.6512 | 0.54926
Wind_BESS | 0.7 | 91 | 130 | 408840.4328 | 383240.7976 | 5633.2235 | 8868.7636 | 14501.9871 | 1.3779 | 2.1692 | 3.5471 | 0.47944
Wind_BESS | 0.8 | 104 | 130 | 408840.4328 | 386345.56 | 1408.7327 | 8520.4404 | 9929.1731 | 0.34457 | 2.0841 | 2.4286 | 0.42291
Wind_BESS | 0.9 | 117 | 130 | 408840.4328 | 386995.2767 | 80.4733 | 7936.3162 | 8016.7894 | 0.019683 | 1.9412 | 1.9609 | 0.37655
Wind_BESS | 1 | 130 | 130 | 408840.4328 | 386743.6245 | 0 | 7279.9342 | 7279.9342 | 0 | 1.7806 | 1.7806 | 0.33868

## Grid Sensitivity
configuration | grid_level | Grid_connection_MW | Physical_curtailment_pct | Economic_curtailment_pct | Total_curtailment_pct | Battery_discharge_MWh | Equivalent_discharge_cycles | Net_revenue_GBP
BESS | 1 | 100 |  |  |  | 198176.75 | 495.4419 | 6296284.0788
PV | 0.6 | 96 | 0.071217 | 4.3584 | 4.4296 | 0 |  | 9974513.656
PV | 0.7 | 112 | 0 | 4.367 | 4.367 | 0 |  | 9981348.2896
PV | 0.8 | 128 | 0 | 4.367 | 4.367 | 0 |  | 9981348.2896
PV | 0.9 | 144 | 0 | 4.367 | 4.367 | 0 |  | 9981348.2896
PV | 1 | 160 | 0 | 4.367 | 4.367 | 0 |  | 9981348.2896
PV_BESS | 0.6 | 96 | 0.00010614 | 0.9499 | 0.95 | 79533.9216 | 198.8348 | 12709388.8068
PV_BESS | 0.7 | 112 | 0 | 0.95 | 0.95 | 80209.0832 | 200.5227 | 12759375.6887
PV_BESS | 0.8 | 128 | 0 | 0.95 | 0.95 | 80403.3684 | 201.0084 | 12766280.4109
PV_BESS | 0.9 | 144 | 0 | 0.95 | 0.95 | 80468.498 | 201.1712 | 12767643.1516
PV_BESS | 1 | 160 | 0 | 0.95 | 0.95 | 80516.498 | 201.2912 | 12768172.6569
PV_Wind | 0.6 | 174 | 0.025642 | 4.1124 | 4.1381 | 0 |  | 36522363.1625
PV_Wind | 0.7 | 203 | 0 | 4.1377 | 4.1377 | 0 |  | 36522365.754
PV_Wind | 0.8 | 232 | 0 | 4.1377 | 4.1377 | 0 |  | 36522365.754
PV_Wind | 0.9 | 261 | 0 | 4.1377 | 4.1377 | 0 |  | 36522365.754
PV_Wind | 1 | 290 | 0 | 4.1377 | 4.1377 | 0 |  | 36522365.754
PV_Wind_BESS | 0.6 | 174 | 0.0092921 | 2.2842 | 2.2935 | 168750.4748 | 421.8762 | 41968880.7561
PV_Wind_BESS | 0.7 | 203 | 0 | 2.23 | 2.23 | 171499.0383 | 428.7476 | 42053137.7164
PV_Wind_BESS | 0.8 | 232 | 0 | 2.2261 | 2.2261 | 171759.1328 | 429.3978 | 42068331.9756
PV_Wind_BESS | 0.9 | 261 | 0 | 2.2261 | 2.2261 | 171838.3459 | 429.5959 | 42068778.8918
PV_Wind_BESS | 1 | 290 | 0 | 2.2261 | 2.2261 | 171838.3459 | 429.5959 | 42068778.8918
Wind | 0.6 | 78 | 5.3667 | 3.3648 | 8.7315 | 0 |  | 25587734.0855
Wind | 0.7 | 91 | 2.3612 | 3.7186 | 6.0797 | 0 |  | 26144855.6502
Wind | 0.8 | 104 | 0.77727 | 3.94 | 4.7173 | 0 |  | 26417359.4994
Wind | 0.9 | 117 | 0.091293 | 4.0475 | 4.1388 | 0 |  | 26525029.6153
Wind | 1 | 130 | 0 | 4.0532 | 4.0532 | 0 |  | 26541017.4644
Wind_BESS | 0.6 | 78 | 3.5124 | 2.1387 | 5.6512 | 87089.1981 | 217.723 | 28777135.9846
Wind_BESS | 0.7 | 91 | 1.3779 | 2.1692 | 3.5471 | 102724.3832 | 256.811 | 29728363.5153
Wind_BESS | 0.8 | 104 | 0.34457 | 2.0841 | 2.4286 | 116313.272 | 290.7832 | 30387589.4131
Wind_BESS | 0.9 | 117 | 0.019683 | 1.9412 | 1.9609 | 128001.0351 | 320.0026 | 30832698.1829
Wind_BESS | 1 | 130 | 0 | 1.7806 | 1.7806 | 137151.0647 | 342.8777 | 31130302.1408